## Instructions
ANSI/API Recommended Practice 1175 - Pipeline Leak Detection - Program Management
Gap Assessment Tool
| Updated | 2016-11-03
Description and Instructions
- Each Tab includes one of the 11 primary components of a successful Leak Detection Program.
- Within each Tab there is a listing of the RP mandatory requirements called "Principal Requirements" for you to assess the gap existent between your company's Leak Detection Program and the API Recommended Practices, as well as a listing of the RP nice-to-have items called "Informational" items for you to use as a guideline to better rank the Principal Requirements and consequently close the gaps in the corresponding component.
- The suggested order is to fill out the Informational Items checklist first (yellow boxes), then to score the Primary Requirements (green boxes), and lastly to fill out an action plan for each Primary Requirement in columns E through H (blue boxes).
- For each "Informational Item" input an "X" on the Yellow boxes for "Deployed", "Partially Deployed", "Not Deployed" or "N/A" (does not apply to your company). The items checked as "Not Deployed" and "Partially Deployed" should guide you to better answer the "Primary Requirements" and to build your Company's action plan to address gaps for that component.
- For each "Principal Requirement" assess the gap (the larger the number, the larger the gap) selecting one of the following options in the green boxes:
  - Gap Score of "1" if requirement is met, documented and part of the company's culture;
  - Gap Score of "25" if requirement is clearly documented but not consistently done;
  - Gap Score of "50" if requirement is partially met but not sufficiently documented;
  - Gap Score of "75" if requirement is generally not met and only partially documented; or
  - Gap Score of "100" if requirement is not met or documented.
- The Gap Score for each Tab will be the average of each "Principal Requirement" on that Tab. The Total Gap Score will be the weighted average of each Tab's Gap Score and provided on the Results Tab. Once you have scored every "Principal Requirement" in a specific tab, please click the save button to update the averaged cell.
- For your convenience, space is provided to assign a Party who will be responsible for addressing each Item, Requirement and Component.
- This tool is provided for your convenience and to expedite implementation of LDP best practices. API does not require you to use this exact tool, however, it is encouraged.
- Use of this tool is not an adequate replacement for reading and understanding the Recommended Practice document but should serve as a helpful supplement.

## Example
ANSI/API Recommended Practice 1175 - Pipeline Leak Detection - Program Management
Gap Assessment Tool | Example |  | 25.5
Component/Sub-components | RP 1175 Reference | Primary Requirements | Gap Score | Who performed the assessment? | Score Justification |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
Testing | 8
|  | LDSs used in an LDP shall be tested when implemented and on a regular basis not to exceed five (5) years or when there has been a significant change in the pipeline’s operation or a physical change in the configuration. | 50 | Marieli Romero, Quality and Compliance Engineer (LDE & OCC) | Testing guidelines are documented but the testing has not been performed within the timeframe |  | Improve testing documentation Improve governance around testing timelines | LD Technology Initiatives & BD Support Team
|  | The testing process shall include the requirements of LDS testing as outlined in API 1130. | 1
Component/Sub-components | RP 1175 Reference | Informational Items | Check List |  |  |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
|  |  | Deployed | Partially Deployed | Not Deployed | N/A
Testing | 8 |  | 50% | 50% |  | 0%
|  |  | 2 | 2 | 0 | 0
|  | - The testing process is rigorous and planned and executed using sound engineering and technical judgment | X
|  | - The requirements of API 1130 are tailored to accommodate the operator's LDS and its assets | X
|  | - The testing process may use actual leaks in lieu of periodic testing, evaluation testing, and validation testing |  | X
|  | - Detailed testing plans including purpose, methods, process, procedures, checklists, testing of Control, and room staff |  | X
Gap Score of "1" if requirement is met, documented and part of the company 's culture;
Gap Score of "25" if requirement is clearly documented but not consistently done;
Gap Score of "50" if requirement is partially met but not sufficiently documented;
Gap Score of "75" if requirement is generally not met and only partially documented; or Gap Score of "100" if requirement is not met or documented.

## Culture and Strategy
ANSI/API Recommended Practice 1175 - Pipeline Leak Detection - Program Management
Gap Assessment Tool |  |  | 1
Component/Sub-components | RP 1175 Reference | Primary Requirements | Gap Score | Who performed the assessment? | Score Justification |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
Leak Detection Program | 4 | Pipeline leak detection shall be managed by structuring the various elements of leak detection into a leak detection program (LDP). | 1
Leak Detection Culture and Strategy | 5
Culture Indicators | 5.1.2 | Culture should be evaluated on an ongoing basis (Several listed behaviours are indicative of a strong leak detection culture). | 1
Strategy Outline | 5.2.1 | The pipeline operator shall develop and implement a leak detection strategy that covers all aspects of the LDP. The strategy shall set the requirements and outline the goals of the LDP and outline how the LDP will meet those goals. | 1
| 5.2.1 | The strategy shall be contained in a written document that is owned, retained and supported by management. | 1
Essential Elements of Strategy | 5.2.3
| c | The selection of LDSs chosen for the LDP shall cover all regulatory requirements and should cover pipeline operator requirements and goals. | 1
| d | The framework of the LDP shall be based on a detailed risk assessment. | 1
| e | The leak detection strategy document should cover all aspects of pipeline operations that affect the LDSs and the principles, methods, and techniques that are or will be used. | 1
| k | The pipeline operator should periodically review their LDS document to ensure it is up-todate. | 1
Component/Sub-components | RP 1175 Reference | Informational Items | Check List |  |  |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
|  |  | Deployed | Partially Deployed | Not Deployed | N/A
Leak Detection Culture and Strategy |  |  | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | 0 | 0 | 0 | 0
Culture Indicators | 5.1.2 |  | 0 | 0 | 0 | 0
- Visible ongoing management support of LDP
- Comprehensive leak detection strategy that is understood by all employees
- Visible support for the LDP at all levels and sections of the organization
- A goal to exceed the minimum leak detection requirements that are denoted by the regulations
- Ongoing support towards improving pipeline leak detection, even if the pipeline operator is meeting current leak detection goals
- Specific evaluation of all methods of leak detection
- Promotion and endorsement of teamwork within departments and across the organization
- Coordination and collaboration between different entities involved in the LDP
- Well-developed internal communication strategies between groups who work in different areas (i.e. Field staff and Control Center staff) with different reporting structures
- Clearly defined roles and responsibilities
- Clear and concise policies, procedures and processes in the Control Center and in other operations and maintenance activities.
- Comprehensive Management of Change Process
- Ongoing Training of all staff regarding how each person supports leak detection
- Focus on safe and reliable operations of the pipeline with no negative repercussions on the staff who take actions in response to to leak indications; including:
- Stop-Work-Autority (SWA) or Stop-Work-Responsibility (SWR) - Every employee has the authority and responsibility to stop unsafe work
- Shutdown when there is a leak indication. When in doubt, shut down and then assess
- Empowerment of the primary user, the Pipeline Controller, who has individual authority to promptly take action such as exercising SWA during leak indication events.
- Ongoing cultural evaluations such as employee surveys or feedback or other observational techniques.
- Documentation and follow-up on the observations and feedback
Strategy Outline | 5.2.1 | A strategy document that includes: | 0 | 0 | 0 | 0
- adopting industry best practices
- improving/enhancing existing LDSs
- studying existing LDSs to determine how they may be improved
- research and development activities
- developing and LDP/LDS above minimum requirements
- implementation of enhanced ROW surveillance
- the use of more complex LDSs such as CPM
- implementing complementary LDSs
- enhancements in the Control Center and/or enhanced maintenance or sustainability requirements
Elements of Strategy | 5.2.2 | Elements of a strategy: | 0 | 0 | 0 | 0
- Management commitment and leadership
- pipeline operator's requirements and goals
- how requirements and goals may be satisfied
- employing risk management
- selection of LDSs
- integration of all forms of LDS employed
- regulatory requirements and industry standards
- ongoing measurement of LDP performance
- tuning and support requirements
- reporting
- training, testing, and operations/procedures
- review and approvals
- management of change
- ongoing improvement of the LDP
Gap Score of "1" if requirement is met, documented and part of the company 's culture;
Gap Score of "25" if requirement is clearly documented but not consistently done;
Gap Score of "50" if requirement is partially met but not sufficiently documented;
Gap Score of "75" if requirement is generally not met and only partially documented; or Gap Score of "100" if requirement is not met or documented.

## Methods and Selection
ANSI/API Recommended Practice 1175 - Pipeline Leak Detection - Program Management
Gap Assessment Tool |  |  | 1
Component/Sub-components | RP 1175 Reference | Primary Requirements | Gap Score | Who performed the assessment? | Score Justification |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
Selection of Leak Detection Methods
Selection Process | 6.1 | Each step of the selection process should be documented | 1
Risk Assessment Factors | 6.2.1 | The risk assessment should attempt to estimate the unmitigated and mitigated consequence level of different leak rates at each location of the pipeline and assess the likelihood of each leak rate occurring by evaluating the possibility of the occurrence of the various threats. | 1
Regulatory requirements | 6.3.1 | An operator shall know all the leak detection and related requirements of 49 CFR Part 195 and any other regulatory requirements that apply to its pipelines. | 1
| 6.3.1 | On single phase liquid pipelines, each new CPM LDS and each replaced component of an existing CPM LDS must comply with Section 4.2 of API 1130 in its design and with any other design criteria addressed in API 1130 for components of the CPM LDS. | 1
Evaluating and selecting technologies | 6.6 | The Operator should develop a list of selection citeria and select leak detection systems. | 1
| 6.6 | The selection process should evaluate the entire life cycle impact on capital costs and long term operational costs. | 1
Particular pipeline requirements | 6.7 | The Operator should ensure that particular operational conditions of a pipeline are accomodated by the LDS selected. | 1
Component/Sub-components | RP 1175 Reference | Informational Items | Check List |  |  |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
|  |  | Deployed | Partially Deployed | Not Deployed | N/A
Selection of Leak Detection Methods |  |  | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | 0 | 0 | 0 | 0
Selection Process | 6.1 |  | 0 | 0 | 0 | 0
- performs an overall risk assessment, usually through a leak detection-focused risk assessment
- incorporates regulatory requirements, utilizing industry RPs (as warranted), and integrating the pipeline operator's requirements
- links the pipeline operator's performance metrics, KPIs and targets
- evaluates the best available technology for leak detection for the operator's pipelines
- designs the LDP through selection of the LDSs considering the associated principles, methods and techniques that become the pipeline operator's LDP, including primary, complementary and perhaps alternative LDSs
- aligns the method selection with the pipeline operator's leak detection culture and strategy
- modifies the method selection to cover particular requirements of individual pipelines
- evaluates the leak detection capability of each method to ensure that the LDP covers all elements listed above
- ensures that the LDP has no gaps in certain, but infrequently occurring operating modes
Risk Assessment Factors | 6.2.1 |  | 0 | 0 | 0 | 0
- has an overall risk analysis of the pipeline
- has reviewed the Integrity Management Plan (IMP), particularly the risk assessment results
- Has reviewed the existing pipeline infrastructure
- Has reviewed the known leak scenarios, history of leaks, and their causes, an estimate of the likelihood of each scenario occurring and if possible anticipate additional leak scenarios
- has reviewed the isolation capability of pumps, valves, types and locations
- emergency response/leak response capability, including nearest locations of response personnel and time to respond
- leak detection capability of the existing LDSs: performance metrics: reliability, sensitivity, robustness and accuracy, KPIs and evaluations of the LDSs and primary, complimentary, alternative LDSs in place and their coverage
- leak detection capability of the existing LDP: strength of the leak detection culture and strength and completeness of the strategy
- leak size reduction initiatives and any IMP risk reduction initiatives, geopolitical or environmental factors
Risk tolerance | 6.2.2 |  | 0 | 0 | 0 | 0
- The overall risk score for various pipelines or segments influences the selection of LDSs on an ongoing basis within the pipeline's operators leak detection strategy
- Pipelines with high-risk score have a leak detection strategy that goes above and beyond the Part 195 minimum regulatory requirements
- Pipeline's risk scores lead to changes to pipeline's operations, its physical characteristics or leak detection strategy
- Selection of leak detection strategy for each pipeline or pipeline segment considers the practicality of implementing the strategy in relation to the risk mitigation benefit
Regulatory requirements | 6.3.1 |  | 0 | 0 | 0 | 0
Aware of Landowner awareness Requirements
Aware of with Public Awareness requirements
Aware of 49 CFR 195.134, 49 CFR 195.402, 49 CFR 195.402 (c)(2), 49 CFR 195.402 (c)(9), 49 CFR 195.402 (e)(2), 49 of CFR 195.402 (e)(4), 49 CFR 195.412, 49 CFR 195.444, 49 CFR 195.446, 49 CFR 195.452, and 49 CFR 195.452(i)(3)
Aware of special conditions or recommendations
Aware of Contractual requirements for a non-owned pipeline
Recommended Practices | 6.3.2 |  | 0 | 0 | 0 | 0
API Publication 1149 - Pipeline Variable uncertainties
API RP 1130 (September 2007) CPM
API RP 1162 (December 2010) Public Awareness
API RP 1160 (September 2013) Managing System Integrity
API RP 1167 (December 2010) SCADA Alarm Management
Strategy Requirements | 6.4 |  | 0 | 0 | 0 | 0
- The leak detection systems best fit the requirements of the strategy
- Strategy provides the resources that serve to positively identify a Loss of Containment (LOC) within a time period commensurate with the level of risk.
- The leak detection design and selection aspects are aligned with the pipeline operator's levels 1 through 4 KPIs
- Primary LDS identified for each pipeline section
- Alternate LDSs identified, when and/or where needed
- Complementary LDSs applied where appropriate
- Redundant and/or backup LDSs applied as required to minimize risks
- Procedures and training in place to rapidly and adequately respond to a LOC
List and Classification of LDSs | 6.5 | Each LDS has strengths and weaknesses dependent on its characteristics. These need to be understood as each system or technique is applied to each situation: | 0 | 0 | 0 | 0
- Have you considered continuous vs. non-continuous monitoring
- Have you considered internal vs. external options
- Do you have procedures for considering and applying the appropriate technology, technique or process
- Have you identified addition instrumentation needs
- have you considered maintenance, support or testing needs
- have you considered enhancing existing techniques
- Techniques to consider (Please consult the standard for a complete list) including but not limited to Aerial Surveillance, Ground-based line surveillance, One-call systems, Public Awareness programs, Intelligent (smart) tools (pigs), etc. (Note: some of these are already regulatory requirements).
- Procedures for evaluation performance of the systems used
Evaluating and selecting Technologies | 6.6 | List of selection criteria covers what features are needed, what performance is required and a process for vetting the various LDSs. | 0 | 0 | 0 | 0
- The selection criteria includes Evaluation of Risk, Pipeline operator strategy and Regulations requirements
- Any potential limitations inherent to the LDS that could impact its ability to rapidly and accurately detect leaks in the field
- Ancillary benefits
- Factors related to physical environment and hazardous liquids to consider in LDS evaluation and application: elevation profile, waterways, major thoroughfares, spans and/or bridges, fluid properties, location based limitations, meteorology, radiant heat, other
- The designed LDP maintains a "System view" in that each component works with the others to provide desired performance.
- The choice of an LDS(s) is specified in the pipeline operator's strategy for: the special case of non-regulated pipelines, Pipelines that do not or cannot have all the required instrumentation, Pipelines that do not meet the common criteria for effective LDS (two-phase or multi-phase flow), pipelines with a history of very small (seepage) leaks, pipelines with a history of ruptures, pipelines with unique operating histories and/or operational challenges
Periodic review of LDS selections | 6.8 | The selection of LDSs is periodically evaluated to ensure they are meeting the requirements of the leak strategy when: | 0 | 0 | 0 | 0
- environmental or population changes
- operational or technological changes
- review associated with Integrity Management Plan (IMP) review schedule
- program modified by field experience
- application updates
- availability of new LDS applications or upgrades
- technology review cycle
- re-evaluation based on another timed-review cycle
- new pipelines acquired or constructed
- pipeline service is changed
- pipeline instrumentation or metering is changed
- changing regulatory requirements
- change in Operator Strategy
- requirements for enhanced leak detection
Gap Score of "1" if requirement is met, documented and part of the company 's culture;
Gap Score of "25" if requirement is clearly documented but not consistently done;
Gap Score of "50" if requirement is partially met but not sufficiently documented;
Gap Score of "75" if requirement is generally not met and only partially documented; or Gap Score of "100" if requirement is not met or documented.

## Metrics and KPIs
ANSI/API Recommended Practice 1175 - Pipeline Leak Detection - Program Management
Gap Assessment Tool |  |  | 1
Component/Sub-components | RP 1175 Reference | Primary Requirements | Gap Score | Who performed the assessment? | Score Justification |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
Performance Targets, Metrics and KPIs | 7
General | 7.1 | Hazardous liquid pipeline operators should establish performance targets for their LDSs and define and track KPIs to ensure the performance targets are met. | 1
Determination of Performance Targets | 7.3.3.1 | Performance targets shall be determined using sound engineering expertise and judgment. | 1
Component/Sub-components | RP 1175 Reference | Informational Items | Check List |  |  |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
|  |  | Deployed | Partially Deployed | Not Deployed | N/A
Performance Targets, Metrics and KPI |  |  | #DIV/0! | #DIV/0! |  | #DIV/0!
| 7 |  | 0 | 0 | 0 | 0
General | 7.1 |  | 0 | 0 | 0 | 0
Targets are set at line segment level as well as program level and others in-between as needed
Metrics and KPI's | 7.2 | Example KPIs | 0 | 0 | 0 | 0
- Reliability may be assessed by the number of non-leak alarms per time period, number of missed leaks per time period and number of hours that LDS performance was inibited
- Sensitivity may be assessed by the average leak threshold, minimum detectable leak size and overall leak volume
- Accuracy may be assessed by the leak Flow rate accuracy, leak location accuracy and leak volume accuracy
- Robustness may be assessed by the loss of measurement, loss of communication, and LDS behaviour during unusual operations and transient conditions
Performance Targets | 7.3 |  | 0 | 0 | 0 | 0
- Performance targets for an LDS may be broadly stated (at Strategy level), more focused for discrete applications, have specific details of implementation and use reduction of risk as the target
- Determination of targets may be systematic and engineering-based methods, by Estimation (detailed and specific knowledge of the asset, the LDS, and the operations are available), or by Observation (detailed knowledge of the asset and its operation are known, and true performance is not known)
Gap Score of "1" if requirement is met, documented and part of the company 's culture;
Gap Score of "25" if requirement is clearly documented but not consistently done;
Gap Score of "50" if requirement is partially met but not sufficiently documented;
Gap Score of "75" if requirement is generally not met and only partially documented; or Gap Score of "100" if requirement is not met or documented.

## Testing
ANSI/API Recommended Practice 1175 - Pipeline Leak Detection - Program Management
Gap Assessment Tool |  |  | 1
Component/Sub-components | RP 1175 Reference | Primary Requirements | Gap Score | Who performed the assessment? | Score Justification |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
Testing | 8
|  | LDSs used in an LDP shall be tested when implemented and on a regular basis not to exceed five (5) years or when there has been a significant change in the pipeline’s operation or a physical change in the configuration. | 1
|  | The testing process shall include the requirements of LDS testing as outlined in API 1130. | 1
Component/Sub-components | RP 1175 Reference | Informational Items | Check List |  |  |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
|  |  | Deployed | Partially Deployed | Not Deployed | N/A
Testing | 8 |  | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | 0 | 0 | 0 | 0
- The testing process is rigorous and planned and executed using sound engineering and technical judgment
- The requirements of API 1130 are tailored to accommodate the operator's LDS and its assets
- The testing process may use actual leaks in lieu of periodic testing, evaluation testing, and validation testing
- Detailed testing plans including purpose, methods, process, procedures, checklists, testing of Control, and room staff
Gap Score of "1" if requirement is met, documented and part of the company 's culture;
Gap Score of "25" if requirement is clearly documented but not consistently done;
Gap Score of "50" if requirement is partially met but not sufficiently documented;
Gap Score of "75" if requirement is generally not met and only partially documented; or Gap Score of "100" if requirement is not met or documented.

## Recognition and Response
ANSI/API Recommended Practice 1175 - Pipeline Leak Detection - Program Management
Gap Assessment Tool |  |  | 1
Component/Sub-components | RP 1175 Reference | Primary Requirements | Gap Score | Who performed the assessment? | Score Justification |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
Control Center Procedures for Recognition and Response
Overview of Procedures | 9.1 | The pipeline operator shall provide a documented leak response procedure to be used in the case of a leak indication on the pipeline. | 1
|  | The Pipeline operator's leak detection culture should reinforce that all leak indications have a cause and must be evaluated and assumed valid until proven otherwise | 1
Recognition | 9.2 | The Pipeline Controller should be able to recognize the nature of a leak indication and respond accordingly | 1
Pipeline Restart | 9.7 | At the end of the investigation, the pipeline operator should fully understand the cause of the leak indication and have verified the cause. | 1
|  | The pipeline operator has clearly defined what is required prior to a restart | 1
Component/Sub-components | RP 1175 Reference | Informational Items | Check List |  |  |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
|  |  | Deployed | Partially Deployed | Not Deployed | N/A
Control Center Procedures |  |  | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | 0 | 0 | 0 | 0
Overview of procedures | 9.1 |  | 0 | 0 | 0 | 0
- Leak response procedures complements emergency response procedures
- Operator has clearly defined and explicitly declared individual authority of Pipeline Controllers
- a leak alarm response procedure defines the procedures, actions tools and actions to be applied
- procedures are clear for ease understanding and concise for ease of use
Recognition | 9.2 |  | 0 | 0 | 0 | 0
- a leak indication does not always mean there is a leak but it does mean that immediate action is required
- a description and action protocol for indications or combination of indications is developed
Analysis of leak Indication | 9.3 |  | 0 | 0 | 0 | 0
- The procedures specify different actions to analyze leak indications
- During the analysis the pipeline controller should use some or all of the following: procedures as written, operator-provided analysis tools, high level of analysis, etc. (Please consult the standard for a complete list).
Response to a leak indication | 9.4 |  | 0 | 0 | 0 | 0
- Leak indication compel a pipeline controller to take inmediate action
- The leak response procedure indicates that certain leak indications require an inmediate shutdown
- Indications requiring Immediate shutdown response may include but are not limited to: has a clearly defined signature, has a high degree of credibility, Pipeline Controller has a high measure of confidence in the leak indication, and indication has a high measure of reliability
- Indications allowing additional analysis before shutdown include but are not limited to indications at an intermediate location that are not supported by overall hydraulic conditions, loss of function of the leak detection technique, communications outages at time of alarm, data fault or data outage alarms, etc. (Please consult the standard for a complete list).
Validating the Leak Indication | 9.5 |  | 0 | 0 | 0 | 0
Validating Leak Indications may use a number of different tools or techniques such as hydraulic calculations, externally real-time LDS, real time video feed, etc. (Please consult the standard for a complete list)
Reporting and Documentation | 9.6 |  | 0 | 0 | 0 | 0
- The actions taken during and/or after a leak alarm, a leak indicator, or a confirmed leak are documented
- Abnormal operating condition and actions taken to mitigate the issue are documented as per a pipeline operator's response procedures
- Documented details may include but are not limited to event timeline and duration, pipelines and facilities involved, type of the indication, etc. (Please consult the standard for a complete list).
- For a confirmed leak, the pipeline operator should activate their Emergency Response Plan requirements
- Emergency Response documentation may include but is not limited to information from Field Operations, emergency notifications issued with date and time, and chronology of communications between stakeholders, etc. (Please consult the standard for a complete list).
Pipeline Restart | 9.7 |  | 0 | 0 | 0 | 0
Operator has and follow the control centre restart procedure
The restart procedure should cover requirements for restarting the pipeline after the investigation finds no evidence of a leak and restarting the pipeline after the leak has been repaired
Gap Score of "1" if requirement is met, documented and part of the company 's culture;
Gap Score of "25" if requirement is clearly documented but not consistently done;
Gap Score of "50" if requirement is partially met but not sufficiently documented;
Gap Score of "75" if requirement is generally not met and only partially documented; or Gap Score of "100" if requirement is not met or documented.

## Alarm Management
ANSI/API Recommended Practice 1175 - Pipeline Leak Detection - Program Management
Gap Assessment Tool |  |  | 1
Component/Sub-components | RP 1175 Reference | Primary Requirements | Gap Score | Who performed the assessment? | Score Justification |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
Alarm Management | 10
Alarm Review | 10.4 | Evaluate the number of false positive alarms and take action to drive them as low as possible | 1
| 10.4.3 | Periodically, with the time between reviews not to exceed five years, the pipeline operator should complete a review of the alarm performance and thresholds of each LDS. | 1
| 10.4.4 | In the event of a confirmed leak, the LDS shall be analyzed, the response of the LDS evaluated, and the result documented. | 1
| 10.4.4 | In the event of a missed leak, the pipeline operator should make changes and test to verify the leak detection method is functioning as intended for the specific timeframe. | 1
Component/Sub-components | RP 1175 Reference | Informational Items | Check List |  |  |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
|  |  | Deployed | Partially Deployed | Not Deployed | N/A
Alarm Management | 10 |  | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | 0 | 0 | 0 | 0
Purpose | 10.1 |  | 0 | 0 | 0 | 0
- Alarm management increases Pipeline Controller confidence in alarms
- leak alarms are a criteria when considering safety related alarms
- Alarm review evaluates the KPIs associated with the leak alarming
- Alarm threshold settings are adjusted in the range of upper and lower design limitations
Data collection | 10.2 |  | 0 | 0 | 0 | 0
- Alarm data is collected
- Alarms should be categorized
- The Control Center Response should be documented
Categorization | 10.3 |  | 0 | 0 | 0 | 0
- Clarity and credibility of leak detection alarms is the primary factor in categorizing alarms
- Alarms are determined or confirmed for relevant alarms
- Alarm Categories may be alarms that required immediate action to shut down the pipeline or high-credibility indications, alarms that required an immediate investigation, alarms that were proven to be non-leak alarms. (Please consult the standard for a complete list).
- Information captured is used to improve the leak detection alarms and response
Alarm Review is used to: | 10.4 |  | 0 | 0 | 0 | 0
- The ultimate goal of alarm review should be to drive up the number of clear and credible alarms or drive down the number of uncertain alarms, look for improvement possibilities, look for learning possibilities, determine if threshold changes are required and reduce other non-leak and chattering alarms
- Short term reviews may be performed daily, weekly or monthly
- Short term reviews may include review of alarms, threshold trends, and imbalance trends and causes, etc. (Please consult the standard for a complete list).
- The purpose of Long-term reviews is to assess alarm performance ; sensitivity, reliability and appropriateness of the thresholds
- The frequency should be based on a risk-based analysis. (Please consult the standard for more details).
- Thresholds are set according to the LD Strategy
- Changes made according to good MOC practice, performance metrics are adjusted when thresholds are changed, and there is a process for returning thresholds to normal
- Short term threshold adjustments are limited and documented
- There should be a well-planned and conducted Threshold review process that may include determining if thresholds are appropriate, evaluating operational changes before changing thresholds, Evaluate if the number of alarms is troublesome, etc. (Please consult the standard for more details).
- If thresholds should be adjusted, the pipeline operator may make the changes offline and test before implementing, make changes only to the affected LDSs, ensure that the change is in line with strategy, etc. (Please consult the standard for more details).
| 10.6 | Tuning | 0 | 0 | 0 | 0
- record as found and as changed factors
- evaluate changes and results
Gap Score of "1" if requirement is met, documented and part of the company 's culture;
Gap Score of "25" if requirement is clearly documented but not consistently done;
Gap Score of "50" if requirement is partially met but not sufficiently documented;
Gap Score of "75" if requirement is generally not met and only partially documented; or Gap Score of "100" if requirement is not met or documented.

## Responsibilities & Training
ANSI/API Recommended Practice 1175 - Pipeline Leak Detection - Program Management
Gap Assessment Tool |  |  | 1
Component/Sub-components | RP 1175 Reference | Primary Requirements | Gap Score | Who performed the assessment? | Score Justification |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
Roles Responsibilities and Training | 11 | Pipeline operators should have clear descriptions of their stakeholders’ roles and responsibilities. | 1
Roles and Functions | 11.2.2 | Pipeline operator's personnel and external stakeholders who interact with any part of its LDP should receive appropriate initial training, retraining, and refresher training | 1
Component/Sub-components | RP 1175 Reference | Informational Items | Check List |  |  |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
|  |  | Deployed | Partially Deployed | Not Deployed | N/A
Roles Responsibilities and Training | 11 |  | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | 0 | 0 | 0 | 0
Roles and Responsibilities | 11.1 |  | 0 | 0 | 0 | 0
- RACI charts may be used to list stakeholders and their relationships with aspects of the LDP
Training | 11.2 |  | 0 | 0 | 0 | 0
- Level, content, method, frequency, and testing/verification of training may be based on the roles and functions of the individuals and to support the pipeline operator culture and strategy
- Training metrics may be established to ensure training effectiveness
- The methods used to deliver training should be appropriate to the role of the individual
- Control Center staff should have the most intense levels of training
| 11.2.3 | Team Training:
- Pipeline operator should perform team training exercises/drills (tabletop and/or field exercises)
- Effective communication should be a topic in the team training and drills
- Training should test and emphasize the abnormal and emergency roles and functions of all personnel involved in the exercise
- Training should include scenarios that test the effectiveness of procedures for elevating the Pipeline Controller's support beyond the Control Center within the time constraints of those procedures.
- An evaluation of the team's performance during an exercise should be done
| 11.2.4.2 | Refresher training:
- Control Center staff and leak detection staff should be the primary audiences for refresher operational and technical training
- Decision factors should be considered when establishing refresher training (Please consult the standard for a complete list of examples): size and complexity of the pipeline operator’s pipelines and LDP, a leak indication or drill, validation testing outcome of previous training, a fixed frequency for Control Center and LD staff, team training exercises at regular intervals.
| 11.2.4.3 | Retraining
- Should include completion of all parts of the leak detection training program per the particular role
- Should be used for a person who has been out of his/her role for a period of time
Training Metrics
| 11.2.5 | - May establish KPIs that measure both the quantity and effectiveness of the training (Please consult the standard for a list of measurement considerations)
Gap Score of "1" if requirement is met, documented and part of the company 's culture;
Gap Score of "25" if requirement is clearly documented but not consistently done;
Gap Score of "50" if requirement is partially met but not sufficiently documented;
Gap Score of "75" if requirement is generally not met and only partially documented; or Gap Score of "100" if requirement is not met or documented.

## Maintenance and Reliability
ANSI/API Recommended Practice 1175 - Pipeline Leak Detection - Program Management
Gap Assessment Tool |  |  | 1
Component/Sub-components | RP 1175 Reference | Primary Requirements | Gap Score | Who performed the assessment? | Score Justification |  | Responsible | Description of Potential Action(s) to Close Gaps. | Responsible Party
Reliability Centered Maintenance (RCM) for Leak Detection Equipment | 12
Maintenance Overview | 12.1 | Pipeline operators should establish written policies and procedures to ensure that all components of the LDS and their supporting infrastructure components are designed for reliability and maintained appropriately. | 1
Component/Sub-components | RP 1175 Reference | Informational Items | Check List |  |  |  | Responsible | Description of Potential Action(s) to Close Gaps. | Responsible Party
|  |  | Deployed | Partially Deployed | Not Deployed | N/A
Reliability Centered Maintenance | 12 |  | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | 0 | 0 | 0 | 0
Maintenance Overview | 12.1 |  | 0 | 0 | 0 | 0
- Maintenance should cover both externally based and internally based LDSs and all components associated with all LDSs in use by the pipeline operator
- Should include processes for immediate maintenance and repair of LDS components that have failed or are providing inaccurate or "bad" readings.
RCM Process | 12.2 |  | 0 | 0 | 0 | 0
- During the maintenance planning process, it may be helpful to discuss the LDS and maintenance program with the users of the LDSs and/or with vendors
- The maintenance program and process may include: What is the function of the particular component and what is its performance standard? In what ways might it fail? (Please consult the standard for a complete list)
The reliability assessment may include an understanding all failure mechanisms and probabilities of each failure. (Please consult the standard for a more details)
- Policies and procedures should be written and followed to ensure each component of each LDS is properly maintained and contributing positively to the robust and reliable performance of each LDS.
Leak Detection Component Identification | 12.3 |  | 0 | 0 | 0 | 0 | 0
- All LDS components should be identified and documented
Design | 12.4 |  | 0 | 0 | 0 | 0
- Design for Reliability and Maintainability (DfRM) may use a team approach - design, implementation, support and training; gather maintenance data and develop Reliability, Availability and Maintanability (RAM) models, etc. (Please consult the standard for a complete list)
- Redundancy for component failure or maintenance may be provided
- Field instrumentation should be designed for the task and provide the required accuracy.
- All technicians and engineers supporting the LDS should be engaged to develop the maintenance strategy
- Fault Detection and Fault Isolation (FD/FI) coverage and impacts on repair timelines should be assessed
- Software maintenance activity in the field should be addressed
Maintenance Tracking and Scheduling | 12.5 |  | 0 | 0 | 0 | 0
- Should integrate maintenance of the leak detection components into a MMS or CMMS for maintenance activity and failure tracking
- Should provide for scheduled (i.e. routine calibration) and unscheduled (i.e. break-fix) activity and the device criticality ranking
- A strategic plan may be implemented with the tracking of reliability metrics for instruments, communications, processing units, etc. and have an associated criticality ranking system
- Policies and procedures should be in place to ensure required software maintenance is performed (patches, revisions, updates, code fixes, etc.) and properly communicated to appropriate stakeholders as to duration, impact, and effectiveness; also, potential risks should be identified and communicated
Gap Score of "1" if requirement is met, documented and part of the company 's culture;
Gap Score of "25" if requirement is clearly documented but not consistently done;
Gap Score of "50" if requirement is partially met but not sufficiently documented;
Gap Score of "75" if requirement is generally not met and only partially documented; or Gap Score of "100" if requirement is not met or documented.

## Performance Evaluation
ANSI/API Recommended Practice 1175 - Pipeline Leak Detection - Program Management
Gap Assessment Tool |  |  | 1
Component/Sub-components | RP 1175 Reference | Primary Requirements | Gap Score | Who performed the assessment? | Score Justification |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
Overall Performance Evaluation of the LDP | 13
Purpose of KPIs | 13.1 | The overall performance evaluation of the pipeline operator’s LDP should capture and evaluate noteworthy results of operation of the LDP, benchmark company performance, and report to management on an annual basis the results of the overall performance monitoring. | 1
Key Performance Indicators (KPIs) | 13.4 | KPIs should be defined to monitor the overall effectiveness of the LDP. | 1
Periodic Reporting | 13.5 | Pipeline operators should collect KPIs identified in Table 6 (Level 1) and Table 7 (Level 2) to allow for industry-wide benchmarking of overall LDP performance. (Please consult the standard for details on Table 6 and Table 7). | 1
Component/Sub-components | RP 1175 Reference | Informational Items | Check List |  |  |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
|  |  | Deployed | Partially Deployed | Not Deployed | N/A
Overall Performance Evaluation of the LDP | 13 |  | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | 0 | 0 | 0 | 0
Purpose of KPIs | 13.1 |  | 0 | 0 | 0 | 0
- All valid performance measures should be simple, measurable, attainable, relevant, and permit timely evaluations
- The overall performance evaluation should be performed using both an internal review and an external review by utilizing both internal information and external information
- The overall performance for the LDP should be measured with KPIs
Internal Review | 13.2 |  | 0 | 0 | 0 | 0
- Operators should establish or enhance a comprehensive internal data repository to facilitate the data collection and analysis process
-The results of the internal review may include: identified gaps in strategy, performance metrics evaluation results, assessment of the strength of the culture, etc. (Please consult the standard for a complete list).
Key Performance Indicators (KPIs) | 13.4 |  | 0 | 0 | 0 | 0
- To define KPIs, pipeline operators may use the steps listed in the RP
- Pipeline operators should develop their own usable list of KPIs
Leading and Lagging Indicators | 13.6 |  | 0 | 0 | 0 | 0
- The framework, as outlined in OGP 456 and API 754, may be used as a basis to structure leading and lagging indicators into a useful tool
- Pipeline operators may implement Level 3 (Table 8) KPIs to help understand how well LDSs are performing
- Pipeline operators may implement Level 4 (Table 9) KPIs for measuring the quality of the processes used within the LDP
- Pipeline operator may use dual assurance where appropriate
- Pipeline operator may normalize data where appropriate
Gap Score of "1" if requirement is met, documented and part of the company 's culture;
Gap Score of "25" if requirement is clearly documented but not consistently done;
Gap Score of "50" if requirement is partially met but not sufficiently documented;
Gap Score of "75" if requirement is generally not met and only partially documented; or Gap Score of "100" if requirement is not met or documented.

## Management of Change
ANSI/API Recommended Practice 1175 - Pipeline Leak Detection - Program Management
Gap Assessment Tool |  |  | 1
Component/Sub-components | RP 1175 Reference | Primary Requirements | Gap Score | Who performed the assessment? | Score Justification |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
Management of Change (MOC) | 14
|  | Pipeline operators shall apply their formal MOC process as required in 49 CFR Part 195.446(f) | 1
|  | The MOC process should include the requirements of API 1167, Section 11 and API 1160, Section 13 | 1
Component/Sub-components | RP 1175 Reference | Informational Items | Check List |  |  |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
|  |  | Deployed | Partially Deployed | Not Deployed | N/A
|  |  | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
Alarm Review | 10.4 | Thresholds changes should be made according to good MOC practice
Roles and Responsibilities | 11.1 | Changes to roles and responsibilities should be tracked and reported using MOC
Gap Score of "1" if requirement is met, documented and part of the company 's culture;
Gap Score of "25" if requirement is clearly documented but not consistently done;
Gap Score of "50" if requirement is partially met but not sufficiently documented;
Gap Score of "75" if requirement is generally not met and only partially documented; or Gap Score of "100" if requirement is not met or documented.

## Program Improvement
ANSI/API Recommended Practice 1175 - Pipeline Leak Detection - Program Management
Gap Assessment Tool |  |  | 1
Component/Sub-components | RP 1175 Reference | Primary Requirements | Gap Score | Who performed the assessment? | Score Justification |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
Improvement Process | 15
Overview of Improvement Process | 15.1 | Improvement process should be performed periodically to define, plan for, and track to completion improvements that are needed to meet existing or new LDP goals | 1
|  | KPIs specific to the improvement process should be tracked and reviewed for progress | 1
|  | Improvement process should report results of improvements undertaken and/or underway in an annual report or as part of a pipeline operator's IMP annual report | 1
Identifying and Defining Opportunities | 15.2 | Improvement issues and suggested improvements should be identified during the management of the LDP. | 1
Component/Sub-components | RP 1175 Reference | Informational Items | Check List |  |  |  | Description of Potential Action(s) to Close Gaps. | Responsible Party
|  |  | Deployed | Partially Deployed | Not Deployed | N/A
Improvement Process | 15 |  | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | 0 | 0 | 0 | 0
Identifying and Defining Opportunities | 15.2 |  | 0 | 0 | 0 | 0
- Pipeline operator should develop a plan or process to capture improvement suggestions
- Issues identified should be described by the party who identifies the concern
- Issues should be passed into the improvement process
- Pipeline operator may establish metrics and KPIs to evaluate the continual improvement possibilities
- The improvement process may start with suggestions or requirements for improvement from all areas of the LDP, any new continual improvement targets, applicable standards and industry best practices, and details of previously identified actions for improvement
- Specific items the improvement process may include information provided in the overall LDP evaluation, lessons learned from the review of 3 to 5 years of industry leak information, issues encountered in the maintenance programs, etc. (Please consult the standard for a complete list).
Initiating and Monitoring the Improvement Process | 15.3 |  | 0 | 0 | 0 | 0
- Improvement process should include a review of the thoroughness of the collected information along with a checklist to verify key components of the LDP are covered in the process
- All of the suggestions, requirements, and new continual improvement targets should be reviewed in the initial planning process
- Decisions should be made for each item regarding what recommended actions to take place (see examples in RP)
- Documentation should include the inputs to the process along with the recommended actions
- For improvement projects, the issue should be fully investigated, described, and prioritized
- For maintenance improvements, the activity should be performed with verification of the outcome
- For a change or adjustment improvement, the work should be fully documented
- For other types of improvement efforts: If the action is some evaluation, planning effort, and/or investigation, then the action should be fully documented along with any further steps defined and planned
- A checklist may be used as a check to assure no LDP areas are being missed. Result of the checklist review would be that key areas have been checked and accounted for and stakeholders are included and are in agreement with the outcome of the review (see examples in RP)
Gap Score of "1" if requirement is met, documented and part of the company 's culture;
Gap Score of "25" if requirement is clearly documented but not consistently done;
Gap Score of "50" if requirement is partially met but not sufficiently documented;
Gap Score of "75" if requirement is generally not met and only partially documented; or Gap Score of "100" if requirement is not met or documented.

## Sheet1 (hidden)
Gap Score | Description
1 | Requirement is met and it is part of the company's culture
25 | Requirement is clearly documented but not consistently done
50 | Requirement is documented but not followed
75 | Requirement is often met but it is not documented
100 | Requirement is not met neither documented
X
Gap Score | Description
1 | RP 1175 Requirements are met, documented and part of company culture
25 | RP 1175 Requirements are clearly documented but not consistently done
50 | RP 1175 Requirements are partially met but not sufficiently documented
75 | RP 1175 Requirements are generally not met and only partially documented
100 | RP 1175 Requirements are not met or documented

## Results
ANSI/API Recommended Practice 1175 - Pipeline Leak Detection - Program Management |  |  |  | Component/Sub-components | RP 1175 Reference | Primary Requirements | Gap Score
Gap Assessment Tool |  |  |  | Leak Detection Program | 4 | Pipeline leak detection shall be managed by structuring the various elements of leak detection into a leak detection program (LDP). | 1
|  |  |  | Leak Detection Culture and Strategy | 5
Component Weight | Component # (RP 1175 Reference) | Components | Gap Score (from Tabs) | Culture Indicators | 5.1.2 | Culture should be evaluated on an ongoing basis (Several listed behaviours are indicative of a strong leak detection culture). | 1
18% | 4 & 5 | Leak Detection Culture and Strategy | 1 | Strategy Outline | 5.2.1 | The pipeline operator shall develop and implement a leak detection strategy that covers all aspects of the LDP. The strategy shall set the requirements and outline the goals of the LDP and outline how the LDP will meet those goals. | 1
16% | 6 | Selection of Leak Detection Methods | 1 |  |  | The strategy shall be contained in a written document that is owned, retained and supported by management. | 1
5% | 7 | Performance Targets, Metrics and KPI | 1 | Essential Elements of Strategy | 5.2.3 c | The selection of LDSs chosen for the LDP shall cover all regulatory requirements and should cover pipeline operator requirements and goals. | 1
5% | 8 | Testing | 1 |  | 5.2.3 d | The framework of the LDP shall be based on a detailed risk assessment. | 1
12% | 9 | Control Center Procedures, Recognition and Response | 1 |  | 5.2.3 e | The leak detection strategy document should cover all aspects of pipeline operations that affect the LDSs and the principles, methods, and techniques that are or will be used. | 1
7% | 10 | Alarm Management | 1 |  | 5.2.3 k | The pipeline operator should periodically review their LDS document to ensure it is up-todate. | 1
9% | 11 | Roles, Responsibilities and Training | 1 | Selection of Leak Detection Methods | 6
6% | 12 | Reliability Centered Maintenance for LD Equipment | 1 | Selection Process | 6.1 | Each step of the selection process should be documented | 1
7% | 13 | Overall Performance Evaluation of the LDP | 1 | Risk Assessment Factors | 6.2.1 | The risk assessment should attempt to estimate the unmitigated and mitigated consequence level of different leak rates at each location of the pipeline and assess the likelihood of each leak rate occurring by evaluating the possibility of the occurrence of the various threats. | 1
5% | 14 | Management of Change | 1 | Regulatory requirements | 6.3.1 | An operator shall know all the leak detection and related requirements of 49 CFR Part 195 and any other regulatory requirements that apply to its pipelines. | 1
10% | 15 | Improvement Process | 1 |  |  | On single phase liquid pipelines, each new CPM LDS and each replaced component of an existing CPM LDS must comply with Section 4.2 of API 1130 in its design and with any other design criteria addressed in API 1130 for components of the CPM LDS. | 1
|  | Total Gap Score | 1 | Evaluating and selecting technologies | 6.6 | The Operator should develop a list of selection citeria and select leak detection systems. | 1
[6 empty] | The selection process should evaluate the entire life cycle impact on capital costs and long term operational costs. | 1
Total Gap Score | Description |  |  | Particular pipeline requirements | 6.7 | The Operator should ensure that particular operational conditions of a pipeline are accomodated by the LDS selected. | 1
1 | RP 1175 Requirements are met, documented and part of company culture |  |  | Performance Targets, Metrics and KPIs | 7
2 - 25 | RP 1175 Requirements are clearly documented but not consistently done |  |  | General | 7.1 | Hazardous liquid pipeline operators should establish performance targets for their LDSs and define and track KPIs to ensure the performance targets are met. | 1
26 -50 | RP 1175 Requirements are partially met but not sufficiently documented |  |  | Determination of Performance Targets | 7.3.3.1 | Performance targets shall be determined using sound engineering expertise and judgment. | 1
51- 75 | RP 1175 Requirements are generally not met and only partially documented |  |  | Testing | 8
76 - 100 | RP 1175 Requirements are not met or documented |  |  |  | 8 | LDSs used in an LDP shall be tested when implemented and on a regular basis not to exceed five (5) years or when there has been a significant change in the pipeline’s operation or a physical change in the configuration. | 1
[5 empty] | 8 | The testing process shall include the requirements of LDS testing as outlined in API 1130. | 1
|  |  |  | Control Center Procedures for Recognition and Response | 9
|  |  |  | Overview of Procedures | 9.1 | The pipeline operator shall provide a documented leak response procedure to be used in the case of a leak indication on the pipeline. | 1
[6 empty] | The Pipeline operator's leak detection culture should reinforce that all leak indications have a cause and must be evaluated and assumed valid until proven otherwise | 1
|  |  |  | Recognition | 9.2 | The Pipeline Controller should be able to recognize the nature of a leak indication and respond accordingly | 1
|  |  |  | Pipeline Restart | 9.7 | At the end of the investigation, the pipeline operator should fully understand the cause of the leak indication and have verified the cause. | 1
[6 empty] | The pipeline operator has clearly defined what is required prior to a restart | 1
|  |  |  | Alarm Management | 10
|  |  |  | Alarm Review | 10.4 | Evaluate the number of false positive alarms and take action to drive them as low as possible | 1
[5 empty] | 10.4.3 | Periodically, with the time between reviews not to exceed five years, the pipeline operator should complete a review of the alarm performance and thresholds of each LDS. | 1
[5 empty] | 10.4.4 | In the event of a confirmed leak, the LDS shall be analyzed, the response of the LDS evaluated, and the result documented. | 1
[5 empty] | 10.4.4 | The pipeline operator should make changes and test to verify the leak detection method is functioning as intended for the specific timeframe. | 1
|  |  |  | Roles Responsibilities and Training | 11
[5 empty] | 11 | Pipeline operators should have clear descriptions of their stakeholders’ roles and responsibilities. | 1
|  |  |  | Roles and Functions | 11.2.2 | Pipeline operator's personnel and external stakeholders who interact with any part of its LDP should receive appropriate initial training, retraining, and refresher training | 1
|  |  |  | Reliability Centered Maintenance (RCM) for Leak Detection Equipment | 12
|  |  |  | Maintenance Overview | 12.1 | Pipeline operators should establish written policies and procedures to ensure that all components of the LDS and their supporting infrastructure components are designed for reliability and maintained appropriately. | 1
|  |  |  | Overall Performance Evaluation of the LDP | 13
|  |  |  | Purpose of KPIs | 13.1 | The overall performance evaluation of the pipeline operator’s LDP should capture and evaluate noteworthy results of operation of the LDP, benchmark company performance, and report to management on an annual basis the results of the overall performance monitoring. | 1
|  |  |  | Key Performance Indicators (KPIs) | 13.4 | KPIs should be defined to monitor the overall effectiveness of the LDP. | 1
|  |  |  | Periodic Reporting | 13.5 | Pipeline operators should collect KPIs identified in Table 6 (Level 1) and Table 7 (Level 2) to allow for industry-wide benchmarking of overall LDP performance. (Please consult the standard for details on Table 6 and Table 7). | 1
|  |  |  | Management of Change (MOC) | 14
[5 empty] | 14 | Pipeline operators shall apply their formal MOC process as required in 49 CFR Part 195.446(f) | 1
[5 empty] | 14 | The MOC process should include the requirements of API 1167, Section 11 and API 1160, Section 13 | 1
|  |  |  | Improvement Process | 15
|  |  |  | Overview of Improvement Process | 15.1 | Improvement process should be performed periodically to define, plan for, and track to completion improvements that are needed to meet existing or new LDP goals | 1
[6 empty] | KPIs specific to the improvement process should be tracked and reviewed for progress | 1
[6 empty] | Improvement process should report results of improvements undertaken and/or underway in an annual report or as part of a pipeline operator's IMP annual report | 1
|  |  |  | Identifying and Defining Opportunities | 15.2 | Improvement issues and suggested improvements should be identified during the management of the LDP. | 1